| VARIA CONNECT · INSPECTIONS & CHECKLISTS Scaffold Inspection Checklist (Scafftag) Senarai Semak Pemeriksaan Perancah | Form INS-SCAF Company logo |
| --- | --- |

When to use: Inspection by a competent scaffolder or designated person. Green tag = safe to use. Red tag = do not use.

Validity / frequency: Before first use, at least every 7 days, and after bad weather or alteration

SCAFFOLD DETAILS

| Scaffold ID / location |  |
| --- | --- |
| Type | ☐ Tubular & fitting ☐ System scaffold ☐ Mobile tower ☐ Cantilever / truss-out ☐ Hanging |
| Height (m) |  |
| Duty / load class |  |
| Erected by |  |
| Date of inspection |  |

CHECKS

| No. | Item | Yes | No | N/A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Base plates and sole boards on firm ground | ☐ | ☐ | ☐ |  |
| 2 | Standards plumb; ledgers and transoms level | ☐ | ☐ | ☐ |  |
| 3 | Bracing complete; ties to building at required spacing | ☐ | ☐ | ☐ |  |
| 4 | Fully boarded platform; boards secured, no gaps or overhang | ☐ | ☐ | ☐ |  |
| 5 | Guardrails (top & mid) and toe boards on all open sides | ☐ | ☐ | ☐ |  |
| 6 | Safe access ladder or stair, secured and extending 1 m above platform | ☐ | ☐ | ☐ |  |
| 7 | No overloading (materials within duty rating) | ☐ | ☐ | ☐ |  |
| 8 | Couplers tight; no damaged tubes | ☐ | ☐ | ☐ |  |
| 9 | Debris netting / catch fans in place where required | ☐ | ☐ | ☐ |  |
| 10 | Clearance from overhead power lines | ☐ | ☐ | ☐ |  |

RESULT

| Tag status | ☐ GREEN — safe to use ☐ RED — do not use |
| --- | --- |
| Defects found / action taken |  |
| Next inspection due |  |

INSPECTOR

| Role | Name | Signature | Date & time |
| --- | --- | --- | --- |
| Competent scaffold inspector |  |  |  |

Keep the original at the site office for the duration of the project. Display permits at the work area while work is in progress.