| VARIA CONNECT · PERMITS TO WORK Excavation Permit Permit Kerja Pengorekan | Form PTW-EXC Company logo |
| --- | --- |

When to use: Any digging, trenching, piling or breaking ground, where underground services or collapse are a risk.

Validity / frequency: Until backfilled; inspect daily and after rain

PERMIT DETAILS

| Project / site |  |
| --- | --- |
| Permit no. |  |
| Date |  |
| Exact location (block / level / grid) |  |
| Description of work |  |
| Company / subcontractor |  |
| Permit holder (in charge on site) |  |
| Number of workers |  |
| Valid from |  |
| Valid until |  |
| Excavation depth (m) |  |
| Length × width (m) |  |
| Method | ☐ Excavator ☐ Hand digging ☐ Piling ☐ Breaker ☐ Other |

UNDERGROUND SERVICES

| No. | Item | Yes | No | N/A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Service drawings checked (TNB, TM, water, IWK sewer, gas) | ☐ | ☐ | ☐ |  |
| 2 | Area scanned with CAT and Genny / GPR; services marked on the ground | ☐ | ☐ | ☐ |  |
| 3 | Trial holes dug by hand to expose services near the dig line | ☐ | ☐ | ☐ |  |
| 4 | Utility owner consulted where services are within 1 m | ☐ | ☐ | ☐ |  |

PRECAUTIONS

| No. | Item | Yes | No | N/A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Sides battered, benched or shored as per method statement (all trenches deeper than 1.5 m) | ☐ | ☐ | ☐ |  |
| 2 | Spoil and materials kept at least 1 m from the edge | ☐ | ☐ | ☐ |  |
| 3 | Edge protection or barricade around the excavation | ☐ | ☐ | ☐ |  |
| 4 | Safe access ladder every 15 m along the trench | ☐ | ☐ | ☐ |  |
| 5 | Dewatering pump available; water level monitored | ☐ | ☐ | ☐ |  |
| 6 | Plant kept back from the edge; stop blocks in place for vehicles | ☐ | ☐ | ☐ |  |
| 7 | Excavation inspected by a competent person at the start of every shift and after rain | ☐ | ☐ | ☐ |  |

PPE REQUIRED

| ☐ Safety helmet with chin strap | ☐ Safety boots |
| --- | --- |
| ☐ High-visibility vest | ☐ Safety glasses / goggles |
| ☐ Gloves (specify type) |  |

AUTHORISATION

| Role | Name | Signature | Date & time |
| --- | --- | --- | --- |
| Applicant / permit holder: I understand the hazards and will follow every precaution listed |  |  |  |
| Safety & Health Officer / Site Safety Supervisor: site checked, precautions in place |  |  |  |
| Site manager (issuer): permit approved |  |  |  |

HAND-BACK AND CLOSURE

| No. | Item | Yes | No | N/A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Work completed / stopped (circle which) | ☐ | ☐ | ☐ |  |
| 2 | All workers and tools withdrawn from the area | ☐ | ☐ | ☐ |  |
| 3 | Area left clean and safe; barriers removed or left in place as agreed | ☐ | ☐ | ☐ |  |
| 4 | Isolations removed or handed back (if any) | ☐ | ☐ | ☐ |  |

CLOSURE SIGN-OFF

| Role | Name | Signature | Date & time |
| --- | --- | --- | --- |
| Permit holder |  |  |  |
| Issuer / SHO |  |  |  |

Keep the original at the site office for the duration of the project. Display permits at the work area while work is in progress.