| VARIA CONNECT · PERMITS TO WORK Electrical Isolation (LOTO) Permit Permit Pengasingan Elektrik (LOTO) | Form PTW-LOTO Company logo |
| --- | --- |

When to use: Work on or near electrical installations, switchboards or machinery that must be made dead. Carried out by a competent person registered with Suruhanjaya Tenaga (chargeman / wireman as required).

Validity / frequency: Until the isolation is removed

PERMIT DETAILS

| Project / site |  |
| --- | --- |
| Permit no. |  |
| Date |  |
| Exact location (block / level / grid) |  |
| Description of work |  |
| Company / subcontractor |  |
| Permit holder (in charge on site) |  |
| Number of workers |  |
| Valid from |  |
| Valid until |  |
| Equipment / circuit to be isolated |  |
| Isolation point (DB / switch no.) |  |
| Competent person & ST registration no. |  |

ISOLATION STEPS

| No. | Item | Yes | No | N/A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Equipment users informed before switching off | ☐ | ☐ | ☐ |  |
| 2 | Switched off at the isolation point | ☐ | ☐ | ☐ |  |
| 3 | Personal padlock and "DANGER — DO NOT OPERATE" tag fitted by each worker | ☐ | ☐ | ☐ |  |
| 4 | Stored energy released (capacitors, springs, pressure) | ☐ | ☐ | ☐ |  |
| 5 | Tested dead with an approved voltage tester (tester proved before and after) | ☐ | ☐ | ☐ |  |
| 6 | Nearby live parts covered or barricaded | ☐ | ☐ | ☐ |  |
| 7 | Earthing applied where required | ☐ | ☐ | ☐ |  |

LOCK REGISTER

| Name | Lock no. | Time on | Time removed | Signature |
| --- | --- | --- | --- | --- |

PPE REQUIRED

| ☐ Safety helmet with chin strap | ☐ Safety boots |
| --- | --- |
| ☐ High-visibility vest | ☐ Safety glasses / goggles |
| ☐ Gloves (specify type) | ☐ Insulated gloves (rated) |
| ☐ Arc-flash face shield (if live work nearby) |  |

AUTHORISATION

| Role | Name | Signature | Date & time |
| --- | --- | --- | --- |
| Applicant / permit holder: I understand the hazards and will follow every precaution listed |  |  |  |
| Safety & Health Officer / Site Safety Supervisor: site checked, precautions in place |  |  |  |
| Site manager (issuer): permit approved |  |  |  |

RE-ENERGISING

| No. | Item | Yes | No | N/A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | All locks and tags removed by their owners | ☐ | ☐ | ☐ |  |
| 2 | Guards replaced; tools removed | ☐ | ☐ | ☐ |  |
| 3 | Users informed before switching on | ☐ | ☐ | ☐ |  |

CLOSURE SIGN-OFF

| Role | Name | Signature | Date & time |
| --- | --- | --- | --- |
| Permit holder |  |  |  |
| Issuer / SHO |  |  |  |

Keep the original at the site office for the duration of the project. Display permits at the work area while work is in progress.